# COMMENTS OF THE LARGE-SCALE SOLAR ASSOCIATION AND THE SOLAR ENERGY INDUSTRY ASSOCIATION TO DEPARTMENT OF ENERGY’S RAPID RESPONSE TEAM FOR TRANSMISSION’S REQUEST FOR INFORMATION

Submitted by electronic mail: Lamont.Jackson@hq.doe.gov

The Large-scale Solar Association and the Solar Energy Industry Association appreciate this opportunity to respond to the Department of Energy’s (DOE) Rapid Response Team for Transmission’s (RRTT) Request for Information.  We applaud the DOE for creating the RRTT, and continuing to work to advance the efforts already made under the Memorandum of Understanding (MOU) entered into by nine Federal agencies in 2009 to expedite electric transmission construction.  We also applaud the federal and state agencies that have expanded the Renewable Energy Policy Group and the Renewable Energy Action Team in California to focus on transmission, and hope that the tremendous success those efforts have had for generation permitting can be duplicated for transmission in California.  We look forward to continuing to work with RRTT in the future and hopes that its input will help the RRTT succeed in its mission “to improve the overall quality and timeliness of electric transmission infrastructure permitting, review, and consultation by the Federal government on both Federal and non-Federal lands . . . .”

- The development timelines for generation and attendant transmission are often not coordinated or run concurrently. Because of the lengthy time to obtain regulatory reviews, permits and approvals (collectively ‘‘Regulatory Permits’’), major new transmission lines can take significantly longer to develop than some types of generation to which the transmission would connect.  This Request for Information will refer to the difference in development times between generation and transmission as ‘‘Incongruent Development Times.’’  Please answer the following :

a.	Describe the challenges created both by the timeline for obtaining Regulatory Permits for transmission and by the Incongruent Development Times.

Numerous challenges are created because of the Incongruent Development Times (IDT), or the significant mismatch between transmission project and generation project lead times.  A generation project generally can be permitted and constructed in 2-4 years, while transmission project planning, permitting and construction takes between 7-10 years – even though transmission construction itself generally takes only 2-3 years.  In fact, some independent system operators have study processes that alone take over two years.  This means that the design, permitting and construction of these projects don’t even begin until more than two years after a developer has placed its project in the interconnection queue.

This mismatch creates the fundamental “chicken and the egg” problem—as well as a devilish cycle.  While transmission is planned based on the location of the generation development, renewable developers are forced to apply for interconnection prior to obtaining power purchase agreements or major permits for their project - and before they know whether the necessary transmission will ever materialize.  Often this requires renewable energy developers to seek interconnection for numerous projects (thus leading to the “queue clogging” problem) before they know whether those projects are commercially viable.  This leads to over-planning of the transmission system, which leads to further delays and overall increased costs.

Renewable energy development costs are substantial, although in the aggregate they are only a fraction of the cost of new generation.  Any invested dollars in renewable projects that must sit on the sidelines while transmission is being constructed decreases the rate of return on the project and increases the developers’ cost of capital, which results in an overall increase of energy costs to ratepayers.  In many regions of the country, transmission is not being planned and constructed in a timely fashion.  For example, most of the “backbone” transmission lines needed to meet California’s renewable goals are not slated to be in service until 2017 or 2018, after the federal investment tax credit has expired – and almost ten years after some of these lines were first identified.

Even more detrimental from a financing perspective is the lack of certainty regarding a transmission permitting and construction schedule.  In other words, renewable developers have no assurances that the transmission will actually be there when promised.  Before a renewable project can be financed, the developer must attain some level of certainty that sufficient transmission infrastructure “will be there” to support generators.  But in many cases, the timeframe for when the transmission will be complete is ambiguous and/or uncertain. In some extreme cases, the regulatory permitting process creates imminent risk of future of transmission upgrades may be denied, resulting in the revision in the scope, or in-service dates of these upgrades.

For example, one project in California was (1) identified as necessary lines to meet California’s renewable goals, (2) included in a generator interconnection agreement, and (3) granted 100% abandoned plant treatment by the Federal Energy Regulatory Commission (FERC), after the utility applied for such treatment.  After several years of being included in the base case for the statewide transmission plan, the independent system operator recently announced that the transmission project is no longer being included in the transmission plan and is not likely to be needed or constructed, despite other developers’ reasonable reliance that the line would be built.  While the transmission line might move forward again if and when the generation project triggering this transmission line moves forward, this will nonetheless further delay the on-line date of this transmission line, adversely impacting the generation projects that have relied on this line being built.

Delays in development and implantation of needed transmission upgrades will not only increase the chances of failure of the associated viable generation projects, but will also increase the chances that such generation projects would be curtailed in their day-to-day operation to maintain reliability, even after they come on line.  This in turn can also cause the Load Serving Entities to over-procure in anticipation of failure or curtailment, which further increases the cost to customers, when such over-procurement may not be necessary had the necessary transmission upgrades been implemented in a timely manner.

Finally, under FERC’s rules, there is almost no recourse for a developer if the utility does not construct transmission facilities on time.  The interconnection agreements only require the utility to use “reasonable efforts,” and liquidated damages are either non-existent or minimal, depending on the circumstance.  Even where the constructing does use reasonable efforts, it is often severely delayed during the permitting and construction processes because of inadequate coordination among the various agencies, unclear rules and regulations, and lawsuits based on inadequate decision making of the various agencies.

b.	To what extent do the Incongruent Development Times hamper transmission and/or generation infrastructure development?

As described above, IDT hampers both transmission and generation infrastructure development primarily due to the “chicken and the egg” problem.  Constructing the appropriate transmission infrastructure depends on the precise location of, technology type and characteristics of the generation, not just on general “demand” as with many other commodities.   However, because of the IDT, transmission must be planned and often permitted before the associated generation projects have begun construction.  The inability to know which generation projects will actually be constructed (i.e., successful in risky permitting and procurement efforts) can cause the transmission construction to be riskier; however, for renewable energy projects such as solar, the value of the resource area and the availability of transmission essentially eliminate the risk that transmission to an area with high solar potential will go unutilized.  At the same time, however, the inability of developers to know when transmission will be available may eliminate the ability of some otherwise viable (and perhaps more cost-effective and reliable) projects to compete in the marketplace.

In order to rectify this issue, large transmission infrastructure projects must be planned, permitted and constructed in a timely fashion, in areas where renewable generation can develop.  Rather than planning on a project-by-project basis, where the planned transmission is dependent on a particular renewable project succeeding, the planning must be done on a more holistic basis.  Moreover, once a transmission project is planned to a renewable resource area, it must be permitted and constructed in a relatively quick timeframe, consistent with federal policies and incentives, so that renewable developers can rely on the transmission being in service when it’s needed.  In order to speed up timelines, there should be better coordination among the relevant permitting agencies during the planning and permitting period.

c.	What are the primary risks associated with developing transmission vis-à-vis the timeline for obtaining Regulatory Permits as well as the Incongruent Development Times?

The primary risk with developing transmission vis-à-vis the Regulatory Permits’ timeline and the IDTs boils down abandonment risk due to failure to obtain permits and/or insufficient generation materializing.   If a transmission project must be abandoned, then either the utilities, or more likely, the ratepayers, will be required to absorb additional costs with little or no benefit.  The abandonment could occur during the permitting stage, if the project is not approved, or after the project is constructed, if insufficient generation materializes.  This risk, while always present, is exacerbated due to the Incongruent Development Timelines, and, in particular, the lengthy development and construction period for electric transmission lines.  As discussed above, however, transmission to high-value solar resource areas is highly unlikely to be left underutilized.

While the risk of abandonment should not be ignored, inaction – or failure to timely build sufficient transmission – has even more costly risks, particularly with respect to transmission serving high-value solar areas.  In our view, the risk of not developing sufficient transmission to foster competitive markets is far greater than the risk that a well-planned transmission project will be abandoned.  This is particularly true if the relevant agencies coordinate early on in the planning process, which will mitigate risk of abandonment (i.e., due to failure to obtain a permit).  On the other hand, if there is insufficient transmission, markets cannot function effectively, and energy costs may increase significantly for all ratepayers.  Moreover, without sufficient transmission, states will not be able to meet their renewable energy goals without increasing reliability risk, over-procuring in anticipating of curtailments, and/or buying more expensive resources, which will also increase overall energy costs.

d.	How is the financing for developing the attendant transmission influenced by its lengthy development time and by the Dissonant Development Times?

Although financing may be more difficult by lengthy development timelines, Congress and FERC have largely resolved those issues by allowing financial incentives for transmission projects that face increased risk.  For example, utilities and non-utility transmission owners can apply to FERC – and FERC routinely grants – incentives such as return on equity adders, accelerated depreciation, 100% recovery for abandonment, if such abandonment is beyond the control of the utility, and recovery for construction work in progress.  All of these financial incentives have helped to ameliorate financing risks, and we support continuing these incentives.

However, utilities should have a commensurate responsibility to actively prosecute the permitting and construction of transmission projects where they have received these financial incentives from FERC.  Currently, there is very little oversight on transmission providers that have committed to build transmission, and, in at least some cases, the transmission providers are not moving forward at a reasonable pace to seek permitting and construction of approved projects.  The RRTT should consider working with FERC to determine whether there are any mechanisms to remedy this problem, such as providing transmission incentives only where the transmission developer lays out a reasonable timeline for development and construction.  Then, in order to retain the incentives, the transmission developer should be required to stick to that timeline, unless it can demonstrate that it could not reasonably do so.

e.	 How, if at all, do development timelines and the Incongruent Development Times affect the decisions made in utilities’ integrated resource planning, if applicable?

See (f) below.

f.	How do development timelines and the Incongruent Development Times affect the ability of parties to enter into open seasons or power-purchase agreements?

Generally, most or all of the transmission risk involved in negotiation power purchase agreements (PPA) is pushed to the generator, even though often the same utility is both negotiating such PPA and constructing the necessary transmission for the project.  Because the incumbent transmission owners are not held to their time estimates in generator interconnection agreements, there is always a risk that the transmission will not be constructed on time.

Moreover, a renewable developer that does not agree with the timing provided by the incumbent transmission owner has little or no recourse to force the utility to accelerate those time lines, and there is very little opportunity for a third party to construct the required transmission facilities.   Although PPAs may have provisions to excuse some transmission delay, those excuses are finite, and, as stated earlier, there are no penalties to the transmission owner for failure to timely perform.  This has become an important issues for renewable developers, who believe that the risk of transmission delays should be borne by the entity that has control over the construction of that transmission.

- Besides improving the efficiency of permitting and approving transmission, are there any other steps the federal government could take to eliminate the barriers created by the Dissonant Development Times?

As noted above, we applaud the federal government’s efforts in this area, particularly the execution of the MOU and the creation of RRTT.  Likely, the most important step would be for the government to accelerate the timing of permitting and approving transmission through better coordination, increased oversight and transparency, and the issuance of enforceable timelines for permitting and approval of transmission.  However, there are still a number of other helpful actions that the federal government could take to eliminate some of the barriers created by IDT.

First, the government could foster competition among transmission providers by allowing third-party providers to earn incentive rate based return and compete with the incumbent utilities.  This will likely drive down costs and accelerate the timing of construction and thus drive down the cost of resources by increasing market efficiency.  This could be accomplished through further FERC rulemakings, in coordination with the other MOU signatories.   Second, the government could increase incentives for multi-state, regional transmission projects, which will allow lower cost renewable energy to be brought in from out of state.  Third, the federal government should streamline its permitting processes for transmission that must go through federal environmental review.

One of the most important and effective measures that can be taken is to transparently track important transmission upgrades and new lines from the beginning of the planning process, through permitting and construction, and until placement in service.  Schedules, with milestones, should be identified, corrective actions taken when milestones are not met, and the success of these corrective actions chronicled, with lessons learned and recommendations for improvement.  This information should be made readily available to all stakeholders, so that issues and barriers can be quickly identified and resolved, and that successful approaches on one project can be more readily adopted for others.  The blame for the significant delays associated with transmission are anecdotally spread widely, but a systematic approach to tracking the development of important transmission upgrades and new lines will clearly identify where the real problems lie- and what solutions are necessary to overcome them.

We also support the federal government’s effort to define and utilize national interest electric transmission corridors (NIETC).  The federal government should allow projects within NIETC corridors to go through an accelerated permitting process, and should hold an open season to allow these corridors to be used by the entities that can construct transmission lines at the least cost and provide the greatest benefit.

- What strategies can the Federal government take to decrease the time that Federal agencies require for evaluating Regulatory Permits for transmission?  What other steps can the Federal government take to address the challenges created by Incongruent Development Times?

As part of the tracking system discussed above, the Federal government should implement a system for tracking progress in a transparent and objective way.  The oversight to ensure that the project schedules are followed will also assist federal and state permitting agencies to work closely together to minimize duplication of efforts and required information.  Moreover, the permitting process could be streamlined by reducing subjective requirements, clearly defining all information required to make a decision, and then requiring agencies to act on the information provided in a timelier manner.

For example, the federal government could set enforceable and accelerated timelines for processing permit applications.  This type of accelerated process has worked well in other contexts – i.e., with the Renewable Energy Policy Group and the Renewable Energy Action Team with respect to permitting certain renewable projects quickly to meet timelines for ARRA funding – and that model could be borrowed here.  In order for this to work, however, the federal government would need cooperation by the state permitting agencies.  Thus, it is also important for the federal government to work closely with the relevant state permitting agencies.

- One way to make the Regulatory Permit process and development times between remote generation and attendant transmission more commensurate, is to decrease the time for permitting transmission by some amount.  In determining how much time can be saved, developing a benchmark may be helpful.  What benchmark should be used?

Although benchmarking could be done in various ways, and could be very helpful in comparing implementation of transmission upgrades and new lines in various areas across the nation, we do not believe it will be effective to benchmark against the time it takes to construct a renewable energy project and/or against the timing of the execution of PPAs.  Rather, it would be better to determine what a reasonable or typical timeframe should be for permitting a section of a transmission line.  Then the government should benchmark against that reasonable period of time, and attempt to permit transmission projects in that timeframe.  The permitting agencies should: 1) define the information required by the applicant, 2) make the information available for public comment to determine whether the required information is provided; 3) determine mitigation required (if any), 4) make a decision on the permit.  In our view, a reasonable, albeit aggressive timeline, would be eighteen (18) months to gather information, six (6) months to model and prepare application, approximately two (2) months for public review, 2 month permit processing, 2 month for rehearing process, for a total of approximately 30 months.

This could be accomplished much more easily if the permitting agencies and other stakeholders are already involved in the transmission planning process.  If transmission projects can be planned in areas with less environmental impacts and more community and agency support, then the permitting process could proceed more quickly

a.	Example—power purchase agreements as the benchmark:  how far in the future do load serving entities (LSE’s) seek to purchase energy or capacity from remote resources?  Do LSE’s seek PPAs that begin delivering energy/capacity 3 years from the signing of the PPA?  7 years?  10 years?  Please explain why PPA’s are signed at this time.

b.	Example—development times as the benchmark:  How long does it take to design, permit and build different types of remote generation?

As noted above, it generally takes between one to four years to design, permit and construct larger scale, remote solar generation projects.  The government could use this timeframe as well as a benchmark for transmission permitting and construction, as it would be useful for the transmission and the renewable energy projects to be developed at the same time.  On the other hand, as noted above, a transmission project should not “live or die” by the success or failure of any one generation project.  Rather, these projects should be centrally planned in areas where generation is likely to develop, so that it will be used and useful whether or not a particular generation project succeeds.

- In your experience, how long does it take to design, permit and build transmission?

The timelines for designing, permitting and building transmission vary greatly, but the general timeframe is 7-10+ years.  In our experience, the shortest is 18 months (Minnesota-upgrades to support renewable generation), and the longest 30+ years (Wisconsin, Arrowsmith project).

- Assume that Federal, state, Tribal and local governments sought to set a goal for the length of time used for completing the Regulatory Permitting process for transmission projects so that the development times between generation and transmission were more commensurate, what goal should that be?  As the length of the project and the number of governments with jurisdictions increase so will the time necessary for permitting and approvals; accordingly, consider providing a goal that could be scalable according to the length of the line.

We believe that a realistic goal for completing the Regulatory Permitting process should be between [] [WHAT IS THE TYPICAL PERMITTING TIME FOR A SOLAR PROJECT?  MAYBE We COULD USE THAT NUMBER].  However, We also believes that the planning process – not just the permitting process – must be expedited and coordinated.  In this way, more viable projects will be brought through the permitting process, and this can further expedite that process.

We also do not agree that a longer transmission line passing through more jurisdictions should take significantly longer to permit.  Rather, the reason for consolidating and streamlining the process is so that the various local, state and federal agencies can share information, work concurrently, and avoid duplication of efforts.  This should limit delays inherent in cross-agency communication, as well as save the resources of the individual agencies.  While there might be a slight delay in communicating information and coordinating efforts, We believe that any policies and procedures implemented should work to avoid those delays to the extent possible.

# Footnotes

Notice of the Department of Energy, RRTT, dated February, 27, 2012. https://www.federalregister.gov/articles/2012/02/27/2012-4464/rapid-response-team-for-transmission#p-15

Until recently, third parties could not build any network upgrades in an interconnection agreement unless it did not affect any other portion of the grid.  Not surprisingly, these facilities are rarely, if ever, identified.  Even after FERC Order No. 1000, which has not be implemented, the incumbent transmission owner will still have the right to build many facilities, without being held to any timelines.

By way of example, the federal government could define a “distance” criteria that is not subjective (i.e., for historic areas, 5 miles from national sites, 3 miles from State sites, 1 mile from previously identified private sites), so that transmission developers would have a clear idea of where they can locate and can find corridors that meet those objective criteria.   If transmission developers meet these objective criteria, then the process should be streamlined and accelerated.  For example, after meeting such criteria, a rebuttable presumption should attach and the burden of proof should shift to any opponents seeking to deny the project a permit.